## Slide 1: 60% Meeting
Faxon Creek Flood Study
December 2, 2013

## Slide 2: Faxon Creek Watershed
3,600 Acres
20% impervious
K-Street Sewer
  2000’ long
  10’ diameter
  Constructed in 1890’s.

## Slide 3: K-Street Sewer Rehabilitation
Built in 1890’s
Accelerating degradation

## Slide 5: K-Street Sewer Rehab
Shotcrete most upstream 600’-700’
No reduction in capacity
Environmental Assessment not required
Preparing stream application
40-60 days for receipt of permit
Spring 2014 bidding and construction
Approximate cost: $1M

## Slide 6: Model Development

## Slide 7: Model Development
XP-SWMM 2D
88 catchments
3900’ of storm sewers
2.6 miles of open channels

## Slide 8: Model Calibration
October 2007
June 2012

## Slide 9: Calibration Sites

## Slide 10: October 2007

## Slide 11: Site 163

## Slide 12: Site 163

## Slide 13: Site 166

## Slide 14: Site 166

## Slide 15: Site 164

## Slide 16: Site 164

## Slide 17: Site 173

## Slide 18: Site 173

## Slide 19: June 2012 Flood
About 8” of rain
High antecedent soil moisture
500-year event (on a 12-24 hour basis)
Widespread Flooding
  Surface flooding
  Basement flooding

## Slide 20: Model Calibration Events

## Slide 21: June 2012 Flood

## Slide 22: June 2012 Flood

## Slide 23: June 2012 Flood

## Slide 24: June 2012 Flood

## Slide 25: Existing Conditions
10, 50, 100, and 500-year design storms

## Slide 26: 100-Year Existing Conditions

## Slide 27: Comparison To Ayres Results
Location | Ayres |  | Donohue | 
 | 100-yr | 500-yr | 100-yr | 500-yr
Halbert Heating Plant Culvert | Overtopped in 100-yr storm |  |  | 
Adjacent to Steam Plant | 632.1 | 637.3 | 637.61 | 638.36
Wessman Arena | 638.6 |  |  | 

## Slide 28: Faxon Creek Profile
Donohue 500-yr
Donohue 100-yr

## Slide 29: 10-Year Hydraulic Grade Line

## Slide 30: 50-Year Hydraulic Grade Line

## Slide 31: 100-Year Hydraulic Grade Line

## Slide 32: 500-Year Hydraulic Grade Line

## Slide 33: Existing Conditions
10, 50, 100, and 500-year design storms
Next Steps
  Run model with crossings in good condition
  Delineate of 100-year and 500-year flood plains

## Slide 34: Detention Sites

## Slide 35: Detention Sites

## Slide 36: Detention Site #1

## Slide 37: Detention Site #1
25-50 MG
Owned by Soo Line Railroad
Could accept flow from UW
Potential brownfield site

## Slide 38: Detention Site #2

## Slide 39: Detention Site #2
6-10 MG
Storm sewer on site
Owner?
Potential skating rink

## Slide 40: Detention Site #3

## Slide 41: Detention Site #4

## Slide 42: Next Steps
Complete alternative analysis
  Optimize basin sizes
  Release rates
  Inlet/outlet structures
  Cost estimates
SLAMM Modeling
Updated flood plain boundaries
Best Management Practices

## Slide 43: Questions?