## SUPERIOR SEQ
STATEMENT OF ESTIMATED QUANTITIES
NOTES | LINE | SPEC NUMBER | DESCRIPTION | UNIT | TOTAL EST. QUANTITY
[5 empty] | PRIVATE | UTILITY
| 1 | 416.061 | DRILLED TIE BARS | EACH |  | 406
| 2 | 460.5244 | HMA PAVEMENT 4 LT 58-34 S | TON |  | 500
1 | 3 | 602.05 | CURB RAMP DETECTABLE WARNING FIELD | SQ FT |  | 50
1 | 4 | 612.0902.S | INSULATION BOARD POLYSTYRENE, 4-INCH | SQ YD | 10 | 100
1 | 5 | 616.0404 | FENCE CHAIN LINK SALVAGED 4-FT | LIN FT | 100
| 6 | 619.1 | MOBILIZATION | EACH | 0.55 | 0.45
| 7 | 625.0105 | TOPSOIL 4-INCH | CU YD | 157.3 | 158
| 8 | 643.5 | TRAFFIC CONTROL | EACH | 0.5 | 0.5
| 9 | 643.5 | TRAFFIC CONTROL - TOWER AVE | EACH | 0.5 | 0.5
1, 2 | 10 | SPV.0060.01 | CLEARING SPECIAL | EACH | 5 | 10
1, 2 | 11 | SPV.0060.02 | GRUBBING SPECIAL | EACH | 5 | 10
1 | 12 | SPV.0060.03 | TREE PRESERVATION AND PROTECTION | EACH | 10 | 10
| 13 | SPV.0060.04 | SERVICE PIPE LOCATION VERIFICATION | EACH | 22
| 14 | SPV.0060.05 | POTHOLE WATER SERVICE FOR MATERIAL IDENTIFICATION | EACH | 115
| 15 | SPV.0060.06 | WATER SERVICE GROUND | EACH | 181
| 16 | SPV.0060.07 | CONNECT TO EXISTING CURB STOP | EACH | 34
| 17 | SPV.0060.08 | CONNECT TO EXISTING INDOOR PLUMBING | EACH | 290
| 18 | SPV.0060.09 | CONNECT TO EXISTING INDOOR PLUMBING, CRAWL SPACE | EACH | 47
| 19 | SPV.0060.10 | PREPARE FINISHED BASEMENT FOR WATER SERVICE REPLACEMENT | EACH | 23
1 | 20 | SPV.0060.11 | SALVAGE & REINSTALL SIGNS TYPE I | EACH |  | 20
| 21 | SPV.0060.12 | ABANDON WATER SERVICE AT CURB STOP IN SEPARATE EXCAVATION | EACH | 17
| 22 | SPV.0060.13 | ABANDON WATER SERVICE AT CORPORATION STOP IN SEPARATE EXCAVATION | EACH |  | 8
| 23 | SPV.0060.14 | PROVIDE EXCAVATION FOR HOT TAP BY SWLP EMPLOYEES | EACH |  | 33
1 | 24 | SPV.0060.15 | 2" x 1" TAPPING TEE W/ ELECTROFUSION SADDLE | EACH |  | 7
| 25 | SPV.0060.16 | CONNECT TO EXISTING CORPORATION STOP | EACH |  | 233
1 | 26 | SPV.0060.16 | BLOW-OFF | EACH |  | 3
| 27 | SPV.00.60.18 | REPLACE 1-INCH CURB STOP AND BOX | EACH |  | 292
| 28 | SPV.00.60.19 | REPLACE 1.25-INCH CURB STOP AND BOX | EACH |  | 2
| 29 | SPV.00.60.20 | REPLACE 1.5-INCH CURB STOP AND BOX | EACH |  | 13
| 30 | SPV.00.60.21 | REPLACE 2-INCH CURB STOP AND BOX | EACH |  | 4
| 31 | SPV.00.60.22 | INSTALL 1-INCH CURB STOP AND BOX | EACH |  | 34
| 32 | SPV.00.60.23 | INSTALL 1.25-INCH CURB STOP AND BOX | EACH |  | 3
| 33 | SPV.00.60.24 | INSTALL 1.5-INCH CURB STOP AND BOX | EACH |  | 6
| 34 | SPV.00.60.25 | INSTALL 2-INCH CURB STOP AND BOX | EACH |  | 5
1, 6 | 35 | SPV.0075.01 | EXPLORATORY EXCAVATION | HOUR | 35 | 35
1, 6 | 36 | SPV.0075.02 | EXPLORATORY EXCAVATION (HYDRO-EXCAVATING) | HOUR | 35 | 35
1 | 37 | SPV.0090.01 | INDOOR PLUMBING TO RELOCATE WATER METER | LIN FT | 50
3, 5 | 38 | SPV.0090.02 | REMOVE & REPLACE CONCRETE CURB & GUTTER TYPE A | LIN FT |  | 898
3, 5 | 39 | SPV.0090.03 | REMOVE & REPLACE CONCRETE CURB & GUTTER TYPE D | LIN FT | 16 | 290
| 40 | SPV.0090.04 | HDPE WATER SERVICE PIPE 1-INCH (PRIVATE) | LIN FT | 13132
| 41 | SPV.0090.05 | HDPE WATER SERVICE PIPE 1-INCH (UTILITY) | LIN FT |  | 10 755
1 | 42 | SPV.0090.06 | HDPE WATER SERVICE PIPE 1.25-INCH (PRIVATE) | LIN FT | 194
1 | 43 | SPV.0090.07 | HDPE WATER SERVICE PIPE 1.25-INCH (UTILITY) | LIN FT |  | 148
1 | 44 | SPV.0090.08 | HDPE WATER SERVICE PIPE 1.5-INCH (PRIVATE) | LIN FT | 678
1 | 45 | SPV.0090.09 | HDPE WATER SERVICE PIPE 1.5-INCH (UTILITY) | LIN FT |  | 512
1 | 46 | SPV.0090.10 | HDPE WATER SERVICE PIPE 2-INCH (PRIVATE) | LIN FT | 202
1 | 47 | SPV.0090.11 | HDPE WATER SERVICE PIPE 2-INCH (UTILITY) | LIN FT |  | 71
8 | 48 | SPV.0090.12 | COPPER WATER SERVICE PIPE 1-INCH (PRIVATE) | LIN FT | 100
8 | 49 | SPV.0090.13 | COPPER WATER SERVICE PIPE 1-INCH (UTILITY) | LIN FT |  | 100
| 50 | SPV.0090.14 | HDPE WATER SERVICE MAIN 2-INCH | LIN FT |  | 275
| 51 | SPV.0105.01 | EROSION CONTROL | LUMP SUM | 0.5 | 0.5
3 | 52 | SPV.0165.01 | REMOVE & REPLACE CONCRETE SIDEWALK 4-INCH | SQ FT | 2378 | 13 500
3 | 53 | SPV.0165.02 | REMOVE & REPLACE CONCRETE SIDEWALK 7-INCH | SQ FT |  | 100
1 | 54 | SPV.0165.03 | REMOVE & REPLACE CONCRETE STEPS | SQ FT | 10
1 | 55 | SPV.0180.08 | PAVEMENT MARKING SPECIAL | SQ YD |  | 100
7 | 56 | SPV.0180.01 | REMOVE & PREPARE FOR HMA PAVEMENT | SQ YD | 21 | 1 768
7 | 57 | SPV.0180.02 | REMOVE & REPLACE CONCRETE PAVEMENT | SQ YD |  | 203
1 | 58 | SPV.0180.03 | REMOVE & REPLACE ASPHALTIC SURFACE | SQ YD |  | 50
1 | 59 | SPV.0180.04 | REMOVE & REPLACE CONCRETE DRIVEWAY PAVEMENT 8-INCH | SQ YD |  | 50
1 | 60 | SPV.0180.06 | REMOVE & REPLACE GRAVEL SURFACE | SQ YD |  | 50
1, 4 | 61 | SPV.0180.05 | SALVAGE & REINSTALL LANDSCAPE GARDEN | SQ YD | 19.5
| 62 | SPV.0180.07 | TURF ESTABLISHMENT - HYDROSEEDING | SQ YD | 1255 | 994